This document has been reformatted to meet current ADA digital accessibility requirements.  No changes have been made to the technical content from the previously posted version.

007100S02 | CONSULTANT CONTRACT RESPONSIBILITIES

- Provide design and documentation in accordance with UK Standards.

- The following publications, standards and codes are to be used to determine the minimum acceptable design criteria, standard of performance, workmanship, etc., by both the consultant and contractor.  The latest applicable publication or superseding issue will be used and, when appropriate, listed in the contract documents:

TITLE	ABBREVIATION

Air Moving and Conditioning Association		AMCA

American Concrete Institute		ACI

American Gas Association		AGI

American Iron and Steel Institute		AISI

American Institute of Steel Construction		----

American National Standards Institute		ANSI

American Society for Testing Materials		ASTM

American Society of Heating, Refrigeration and Air-Conditioning Engineers		ASHRAE

American Society of Mechanical Engineers		ASME

American Society of Sanitary Engineers		ASSE

American Water Works Association		AWWA

ASME Boiler Construction Code		----

Illuminating Engineering Society		IES

Institute of Electrical and Electronic Engineers		IEEE

Insulated Power Cable Association		----

Kentucky Boiler Safety Law (KRS236)		----

Kentucky Building Code		KBC

Kentucky Department of Housing, Building and Construction		----

Kentucky Department of Energy		----

Kentucky Occupational Safety and Health Administration		KOSHA

Kentucky State Fire Marshal's Regulations		----

Kentucky State Plumbing Code		----

National Electric Code		NEC

National Electric Manufacturers Association		NEMA

National Electric Safety Code		----

National Fire Protection Association		NFPA

National Standards Foundation		NSF

Plumbing and Drainage Institute		PDI

Sheet Metal and Air Conditioning Contractors National Association		SMACCNA

Underwriters Laboratories		UL

Guidelines for Commissioning of HVAC Systems		ASHRAE

3.	The consultant is responsible for the submission of documents for state, local, private, etc. Agency review(s) obtain written agency approvals, to be documented and submitted to the project coordinator before final documents are ready for the bidding process to begin.  The consultant is responsible for compliance with the agency comments and requirements.  Provide written approval for any variance or deviation form normal installations or systems.

The following is a list of agency reviews required as they apply to the project, these are public and private agencies outside of the University system.  Others may be required for areas of special interest:

Kentucky State Plumbing Division*

Kentucky State Fire Marshal**

Kentucky Division of Building Code Enforcement

Kentucky State Boiler Inspector

Local Health Department

Local Environmental Protection Agency

Local water provider***

Local gas provider

Local municipal services

The following is a list of agency reviews required as they apply to the project, these are within the University system and will be acquired during the phase review process.  Others may be required for areas of special interest:

Capital Project Management

Facilities Management

Sector Physical Plant

Procurement Services

Information Technology Services

Environmental Health and Safety

Campus Accessibility

The sector or user group

Notes:

*	Provide approved documents on the construction site.

**	Approval of sprinkler layout may be by the contractor with approval and submission to the University by the consultant.

***	KAWC will require 30 days for review.

| REVISION DATE | PAGES | REMARKS |
| --- | --- | --- |
| 12/2025 | ALL | General Update |
| 4/2026 | ALL | Updated references, university department names |
| 4/2026 | ALL | Verified document meets ADA Digital Accessibility Requirements |